This is the third of a series of articles defining the policies, guidelines, standards, and procedures that provide the foundation of  a virtualized environment, thus enabling business continuity, disaster recovery, and high availability, with an emphasis toward Return On Investment (ROI).

The focus of this article is to define virtual adapter slot numbering standards used by the VIO servers and to discuss the placement of physical adapters within a pSeries frame or I/O drawer.  These standards enable the administrator more easily manage and maintain the various I/O components provided by the VIO servers to the client LPAR's.

The standards and procedures detailed here are are result of two years of implementation work refining best practices with respect to system administration, high availability, disaster recovery, and business continuity.

The previous article in this series provided a shell script that automates the process of building VIO servers according to the standards that are presented in this article.  Utilizing a shell script to build the VIO servers ensures they are built in a consistent and reproducible manner.  One of the most difficult tasks associated with managing a virtualized environment is creating and maintaining the association physical resources with their virtualized counterparts.  The physical resources that must be managed include storage, networking, and serial devices.  This article will concentrate on storage and networking.

A recommended configuration for a virtualized environment includes redundant VIO servers, which provide redundant access to storage and networking devices.  This means that each VIO server will be configured with multiple physical adapters for access to storage and multiple physical devices with access to networking.  Typically, each VIO server is configured with 4 (four) network devices,  configured in an etherchannel, and two (2) or three (3) fiber channel devices providing access to storage.

At the time of this writing, the maximum network throughput of a VIO server is 3.5 gigabits/second, therefore implementing more that three (4) gigabit ethernet adapters cannot be fully utilized.  The fourth adapter in the recommended configuration is usually implemented as a fail-over adapter for the etherchannel and is only utilized if the etherchannel becomes inoperable.

Configuration of the virtual SCSI adapters requires the knowledge of disk layouts as well as networking configuration. The virtual SCSI adapters require server and client side adapters to be configured on the HMC. The server side portion of the SCSI adapter, configured on the VIO, requires the definition of a frame wide unique "slot number". For high availability, the server side portion of the SCSI adapter must be configured on both VIO servers in a dual VIO configuration.

For each client LPAR that uses virtual disk or logical volumes, a client side virtual SCSI adapter must be configured on the HMC, one for each VIO server. The client side of the virtual SCSI adapter requires additional information and it's settings to correspond with the server side of the SCSI adapter. Coordinating the slot numbers defined here will make debugging and tracking of problems much easier and is highly desired.

To define a slot numbering standard for VIO client/server environments, the slot numbers should be divided on an even/odd basis, even numbered slots shall only be used on even numbered VIO servers, odd numbered slots shall only be used on odd numbered VIO servers.  Thus providing an easy mechanism to determine which slot is served by which VIO server.  This assumes the host naming standard described in a previous article in this series, was used to name the VIO servers.

To keep track of each slot and to provide a recognizable pattern to slot numbering, a range of slot numbers has been arbitrarily selected for assignment with virtual SCSI adapters.  This standard specifies the range of slot numbers to be those between 10 and 499.   Any slot numbered 500 and above is designated by this standard for assignment with virtual ethernet adapters.

Using the example VIO server host names from the previous article in this series (Table 3.1) , virtual SCSI slot numbers can be assigned based on the ultimate purpose of the storage attached to the virtual SCSI adapter, as shown in table 3.2:

| VIO Server Name | Description | Managed Frame Name |
| --- | --- | --- |
| dalapvio00 | First VIO Server node on the frame | Server-9119-590-SN12A345B |
| dalapvio01 | Second VIO Server node on the frame | Server-9119-590-SN12A345B |

Table 3.1: Example LPAR names for VIO Servers

| Virtual SCSI Adapter Slot number | VIO Server Numbering (even/odd) | VIO Server (Example) | Purpose |
| --- | --- | --- | --- |
| 100 | even | dalapvio00 | Operating system storage |
| 101 | odd | dalapvio01 | Operating system storage |
| 102 | even | dalapvio00 | Database/Application storage |
| 103 | odd | dalapvio01 | Database/Application storage |
| 104 | even | dalapvio00 | Database/Application storage |
| 105 | odd | dalapvio01 | Database/Application storage |
| 106 | even | dalapvio00 | Database/Application storage |
| 107 | odd | dalapvio01 | Database/Application storage |
| 108 | even | dalapvio00 | Miscellaneous |
| 109 | odd | dalapvio01 | Miscellaneous |
| 110 | even | dalapvio00 | Operating system storage |
| 111 | odd | dalapvio01 | Operating system storage |
| 112 | even | dalapvio00 | Database/Application storage |
| 113 | odd | dalapvio01 | Database/Application storage |
| 114 | even | dalapvio00 | Database/Application storage |
| 115 | odd | dalapvio01 | Database/Application storage |
| 116 | even | dalapvio00 | Database/Application storage |
| 117 | odd | dalapvio01 | Database/Application storage |
| 118 | even | dalapvio00 | Miscellaneous |
| 119 | odd | dalapvio01 | Miscellaneous |
| 120 | even | dalapvio00 | Operating system storage |
| 121 | odd | dalapvio01 | Operating system storage |
| 122 | even | dalapvio00 | Database/Application storage |
| 123 | odd | dalapvio01 | Database/Application storage |
| 124 | even | dalapvio00 | Database/Application storage |
| 125 | odd | dalapvio01 | Database/Application storage |
| 126 | even | dalapvio00 | Database/Application storage |
| 127 | odd | dalapvio01 | Database/Application storage |
| 128 | even | dalapvio00 | Miscellaneous |
| 129 | odd | dalapvio01 | Miscellaneous |

Table 3.2: VIO Server Slot Numbering

Under this standard, virtual SCSI adapters that are assigned slot numbers ending in 0 or 1, are used for communication with operating system storage.

Virtual SCSI adapters that are assigned slot numbers ending in 2, 3, 4, 5, 6, or 7 are used for communication with application or database storage.

Finally, virtual SCSI adapters that are assigned slot numbers ending in 8,or 9 are used for communication with miscellaneous other storage.

The “mkviolpar” script from the previous article in this series, creates virtual SCSI adapters according to this standardized slot numbering scheme described above.  It creates virtual SCSI adapters for all slots numbered between 10 and 499 for slots ending with numbers 0, 1, 2, 3, 8, and 9.  The even numbered slots should be created on the even numbered VIO server, the odd numbered slots on the odd numbered VIO server. The purpose of segmenting the SCSI adapters on an even/odd basis is to provide the administrator with a mechanism to easily identify and maintain these resources.  Using this standard, up to 49 client LPARs could be configured on any single frame.  Slight modifications to this standard would allow as many client LPARs as desired to be configured.  Table 3.3 shows an example slot numbering sequence for dual VIO servers providing virtual SCSI adapters for three client LPARs:

| Client LPAR Name | Client LPAR Slots (from VIO) | VIO Server dalapvio00 Slot Number (even) | VIO Server dalapvio01 Slot Number (odd) | VIO Server Assignment to LPAR |
| --- | --- | --- | --- | --- |
| dalapora00 | 100/101 | 100 | 101 | Operating System Storage |
| dalapora00 | 102/103 | 102 | 103 | Database Storage |
| dalapora00 | 104/105 | 104 | 105 | Unused |
| dalapora00 | 106/107 | 106 | 107 | Unused |
| dalapora00 | 108/109 | 108 | 109 | Paging |
| dalapora01 | 110/111 | 110 | 111 | Operating System Storage |
| dalapora01 | 112/113 | 112 | 113 | Database Storage |
| dalapora01 | 114/115 | 114 | 115 | Unused |
| dalapora01 | 116/117 | 116 | 117 | Unused |
| dalapora01 | 118/119 | 118 | 119 | Paging |
| dalapora02 | 120/121 | 120 | 121 | Operating System Storage |
| dalapora02 | 122/123 | 122 | 123 | Application Storage |
| dalapora02 | 124/125 | 124 | 125 | Unused |
| dalapora02 | 126/127 | 126 | 127 | Unused |
| dalapora02 | 128/129 | 128 | 129 | Unused |

Table 3.3: Client LPAR Virtual SCSI Adapter Slot Numbering

This standardized method of assigning slot numbers to virtual SCSI adapter greatly enhances the administrators ability to build, modify, and maintain the client LPARs and VIO servers.  The administrator can immediately recognize which VIO server is providing active (or inactive) paths to storage from the client LPAR and where problems exist.  The administrator is also able to take specific virtual SCSI adapters offline for maintenance or reconfiguration without effecting storage attached to other virtual adapters.  Again, the script “mkviolpar” creates the virtual SCSI adapters on each VIO server, based on the even/odd numbering scheme, however it is up to the administrator to assign these adapters to each client LPAR according to the standard described here.

Normally, LUNs from a storage array are assigned to the physical adapters associated with the dual VIO servers.  An individual LUN would be assigned to both VIO servers through the virtual SCSI  adapters and presented to a client LPAR.  The Multi-Path I/O (MPIO) drivers on the client LPAR then recognize that a single LUN is presented through multiple virtual paths (one from each VIO Server) , and a single “hdisk” is discovered by the “cfgmgr” command.

A detailed procedure for assigning storage to the virtual SCSI adapters will be discussed in a later article.

The next section of this article will discuss a slot numbering standard for the virtual ethernet adapters provided by dual VIO servers.  As mentioned previously, any slot numbered 500 and above is designated by this standard for assignment with virtual ethernet adapters.  The three digit slot number assigned to virtual ethernet adapters is segmented by each digit of the number, and each digit has a specific meaning as shown in table 3.3:

| First Digit | Second Digit | Third Digit |
| --- | --- | --- |
| 5: Boot/Service 6: Standby 7: Backup 8: Management 9: Intra-frame | 0: Gigabit 5: 10/100 9: Bus | 0,2,4,6,8: Even numbered VIO Server 1,3,5,7,9: Odd numbered VIO Server |

Table 3.3: Ethernet Slot Number Components

The first digit of the ethernet slot numbers associated with virtual ethernet adapters is used to represent a variety of adapter purposes. Those purposes include database and application service, boot, standby, backup, management, and intra-frame communications.

- 500-599: boot/service

- 600-699: standby

- 700-799: backup

- 800-899: management

- 900-999: intra-frame

The second digit of the three digit ethernet slot number sequence will represent the adapter speed. Gigabit cards will be represented by 0 thru 4, 10/100 adapters by 5 thru 8, and bus speed adapters by a 9. This digit may be reconfigured as necessary.

The third digit of the three digit ethernet slot number assigned to virtual ethernet adapters associated with the VIO Server named *vio0 will end with an even or odd number, depending upon which VIO server it is configured, if it is configured on the even numbered VIO server, it will have an even number; on the odd numbered VIO server, an odd number.

For the example configuration, it is assumed the physical ethernet adapters configured in the VIO servers for use as communication interfaces to the “service” network, are all gigabit capable adapters.  It is also assumed the physical ethernet adapters configured in the VIO servers for use as communication interfaces to the “management” network, are all 10/100 megabit adapters.  Using this information, the slot numbers designated for use by these adapters are shown in table 3.4:

| VIO Server Slot Number | Adapter Type | Adapter Speed | VIO Server |
| --- | --- | --- | --- |
| 500 | Boot/Service | Gigabit | dalapvio00 |
| 501 | Boot/Service | Gigabit | dalapvio01 |
| 590 | Boot/Service | BUS | dalapvio00 |
| 591 | Boot/Service | BUS | dalapvio01 |
| 850 | Management | 10/100 | dalapvio00 |
| 851 | Management | 10/100 | dalapvio01 |
| 890 | Management | BUS | dalapvio00 |
| 891 | Management | BUS | dalapvio01 |

Table 3.4: Three Digit Ethernet Slot Number

An LPAR may have multiple adapters of a variety of types, for example an LPAR that provides database services and is a member of an HACMP cluster may have service, boot, standby, management, backup, and intra-frame virtual adapters as follows:

- Gigabit adapter used for boot/service address

- Gigabit adapter used for standby address

- 10/100 backup adapter

- 10/100 management adapter

- 2 intra-frame adapters

The “mkviolpar” script builds several standardized ethernet adapters.  Each VIO server is configured with one (1) virtual adapter for use by the client LPARs to connect to the service network, and one (1) virtual adapter for use by the client LPARs to connect to the management network.   The service network is assumed to handle the application and database network traffic.  The management network is used by the system administrators for monitoring and management of the systems.  The following table (table 3.5) shows four (4) adapters associated with each VIO server, the non-trunked adapters configured on slots 590, 591, 890, and 891 are used to assign IP addresses on their respective networks to the VIO server, this will be further explained in a later article.

| VIO Server Slot Number | VLAN ID | Adapter Type | Adapter Purpose | Adapter Speed | VIO Server |
| --- | --- | --- | --- | --- | --- |
| 500 | 500 | Trunked | Boot/Service | Gigabit | dalapvio00 |
| 590 | 500 | non-Trunked | Boot/Service | BUS | dalapvio00 |
| 850 | 850 | Trunked | Management | 10/100 | dalapvio00 |
| 890 | 850 | non-Trunked | Management | BUS | dalapvio00 |
| 501 | 501 | Trunked | Boot/Service | Gigabit | dalapvio01 |
| 591 | 501 | non-Trunked | Boot/Service | BUS | dalapvio01 |
| 851 | 851 | Trunked | Management | 10/100 | dalapvio01 |
| 891 | 851 | non-Trunked | Management | BUS | dalapvio01 |

Table 3.5: Standardized Slot number / VLAN ID Association

Finally, the virtual ethernet slot numbering standard can be propagated through to the client LPAR.  Each client LPAR will be configured with a virtual ethernet adapter for each network from each VIO server.  The example configuration discussed in this article would require two virtual ethernet adapters, one from each VIO server, for the “service” network (slots 500 and 501), and  two virtual ethernet adapters, one from each VIO server, for the “management network (slots 850 and 851).  The result of this example is that each client LPAR would be configured with four virtual ethernet adapters as shown in table 3.6:

| Client LPAR Name(example) | Client LPAR Slot Number | VIO Server Name(example) | VIO Server Slot Number | VLAN ID |
| --- | --- | --- | --- | --- |
| dalapora00 | 500 | dalapvio00 | 500 | 500 |
| dalapora00 | 501 | dalapvio01 | 501 | 501 |
| dalapora00 | 850 | dalapvio00 | 850 | 850 |
| dalapora00 | 851 | dalapvio01 | 851 | 851 |
| dalapora01 | 500 | dalapvio00 | 500 | 500 |
| dalapora01 | 501 | dalapvio01 | 501 | 501 |
| dalapora01 | 850 | dalapvio00 | 850 | 850 |
| dalapora01 | 851 | dalapvio01 | 851 | 851 |
| dalapora02 | 500 | dalapvio00 | 500 | 500 |
| dalapora02 | 501 | dalapvio01 | 501 | 501 |
| dalapora02 | 850 | dalapvio00 | 850 | 850 |
| dalapora02 | 851 | dalapvio01 | 851 | 851 |

Table 3.6: Client LPAR Ethernet Slot Numbering

The purpose of this VIO server and client LPAR design is to provide automated fail over redundancy for the network connections as well as the storage connections.  In a large data center, the administrator must be able to easily identify, track, monitor, and maintain the various resources utilized by all systems.  It is also necessary for new personnel to become productive as soon as possible.  Implementation of standards such as this ensure the ability to achieve these goals and contribute to the overall business continuity of the organization.

The previous article in this series promised this article would provide a web based reporting mechanism for identifying all physical and virtual adapters assigned to all VIO servers and client LPAR's.  The length of this article prohibits the inclusion of the entire reporting mechanism at this time, so only the data gathering portion will be included here, and the data processing portion will be presented in the next article of this series.  The data gathering portion of this mechanism is a Korn Shell 93 script that communicates with the HMC via remote ssh commands.  The HMC host name and user name is specified on the command line of this script.  The data retrieved from the HMC is stored in a local directory, which can be specified by the user as a command line argument to the script.  This script assumes that it has password-less ssh access to the HMC.

This HMC data gathering script is expected to be executed on a periodic basis through an automated scheduling system such as “cron”.  This data is critical to being able to automatically generate business continuity, disaster recovery, and high availability documentation, which should be a goal of all AIX system administrators.  This script should probably be executed at least once a month, once a week would be better, once a day is probably to much.  How often it is executed will depend upon your organizations business continuity requirements.

Note to editor:  Please insert the script named “gethmcdata.ksh” here.

Unfortunately, the IBM AIX version of Korn Shell 93 (ksh93), has a bug that causes this script not to run properly on an AIX system..  The bug prevents the “/%” substitution operator from performing a marked replacement correctly.  To run this script on an AIX system, download the official Korn Shell 93 AIX binary from www.kornshell.com and it will resolve this issue.  IBM has been notified of this bug, but as of the time of this writing, there is no resolution.

The Business Continuity policies, guidelines, standards, and procedures to be learned from this article are as follows:

Policies:

- Dual VIO Servers will be configured on each pSeries frame to provide redundancy and the ability to upgrade the VIO servers without client LPAR downtime.

- The maximum usable bandwidth of all physical ethernet adapters attached to any single VIO server shall not exceed 3.5 gigabits.

- Two or three HBA's shall be attached to each VIO server for redundant automated fail-over access to storage.

- Automated documentation generation shall be a goal of all system administration efforts.

  - Guidelines:

- VIO Server LPAR's should be created using a script to ensure consistency and adherence to standards.

- All HMC's should have remote access enabled for administration purposes.

- Two, three, or four gigabit ethernet adapters should be configured on each VIO servers to provide access for each network presented by the VIO.

- Two or three HBA's should be configured on each VIO server to provide access to storage.

  - Standards:

- This article provided standards for numerous parameters and settings associated with the creation of VIO Servers and client LPARs.

  - Procedures:

- The “mkviolpar” shell script provides a standardized, repeatable procedure for creating virtual SCSI and ethernet adapters on dual VIO servers across on multiple frames.

- The “gethmcdata” shell script provides an automated procedure for gathering data that identifies all physical and virtual adapters assigned to all VIO servers and client LPAR's.

The next article in this series will provide the data processing portion of the web based reporting mechanism for identifying all physical and virtual adapters assigned to all VIO servers and client LPAR's.   The purpose of this mechanism is to provide an automated method of generating AIX system administration documentation as part of an organization's business continuity plan.

Dana French

President, Mt Xia, Inc.

http://www.mtxia.com

615.556.0456