This is the sixth of a series of articles defining the policies, guidelines, standards, and procedures that provide the foundation of  a virtualized environment, thus enabling business continuity, disaster recovery, and high availability, with an emphasis toward Return On Investment (ROI).

The focus of this article will be to describe a virtual SCSI adapter slot numbering standard that will help the system administrator organize and manage these adapters and associated storage on the VIO servers and client LPAR's.  As mentioned in the previous article of this series, one of the most difficult tasks in a virtualized AIX environment is the identification and management of virtual SCSI adapters and storage, with their associated client LPAR's.  These tasks are more difficult in large environments such as the p590 where there will likely be multiple VIO servers and dozens, if not hundreds of client LPAR's on a single frame.  The initial configuration of the virtual SCSI adapters and storage is fairly straight forward, though not simple.  The most difficult tasks are adding and deleting storage from existing client LPAR environments and the VIO servers presenting that storage.  The system administrator must be able to accurately identify the associations between the virtual SCSI adapters and client LPAR's on all VIO servers.   Adding storage to the wrong virtual SCSI adapter on a VIO server will probably not be a catastrophic error, however deleting storage from the wrong adapter on a VIO server will almost certainly be catastrophic to the applications running on the client LPAR.

A Korn Shell script called “mapluns”, published in “AIX Update Journal, May 2006, Issue 127, and June 2006, Issue 128”, provides the system administrator with the ability to accurately identify the associations between virtual SCSI adapters, storage devices, storage frames, LUN ID's, PVID's, client LPAR's, and VIO servers.  It will also span multiple VIO servers across multiple frames to provide these associations in high availability environments where storage devices may be configured across multiple client LPAR's.

In the previous article of this series, a range of slot numbers was selected for use as virtual SCSI adapters.  This range of slot numbers was between 10 and 499.  To illustrate an example virtualized configuration, this article will assume a dual VIO server arrangement on each frame.  The purpose of the dual VIO server configuration is to ensure the client LPAR's  always have at least one active path to network and storage communications. As was described in previous articles in this series, an even/odd numbering scheme will be used with the virtual SCSI adapter slot numbers to segment them between the VIO servers.   Even numbered slot numbers will only be used on VIO servers with even numbered node names, and odd numbered slot numbers will only be used on VIO servers with odd numbered node names.  This methodology will assist the system administrator with identifying associations between virtual SCSI adapters and VIO servers.

To illustrate the slot numbering scheme, the example VIO server names from previous articles will be used as shown in table 5.1:

| VIO Server Name | VIO Server Location | Managed System Name | Frame |
| --- | --- | --- | --- |
| dalapvio00 | First VIO Server node on the 1st frame | Server-9119-590-SN12A345B | A |
| dalapvio01 | Second VIO Server node on the 1st frame | Server-9119-590-SN12A345B | A |
| dalapvio02 | First VIO Server node on the 2nd frame | Server-9119-590-SN67D890E | B |
| dalapvio03 | Second VIO Server node on the 2nd frame | Server-9119-590-SN67D890E | B |

Table 5.1: Example VIO Server names

For the remainder of this article, the p590 frame identified by the managed system name “Server-9119-590-SN12A345B” will be referred to as frame “A” and the p590 frame identified by the managed system name “Server-9119-590-SN67D890E” will be referred to as frame “B”.

To best illustrate the need for standardized virtual SCSI adapter slot numbering, a couple of example high availability (HA) configurations of client LPAR's will be discussed.  The first HA example will consist of an active client LPAR and a hot-standby client LPAR whose only function is to wait for a fail over.  The second example will consist of an Active-Active pair of HACMP nodes.  The cluster pair nodes will be assumed to exist on separate hardware frames A and B (as shown in table 5.1), and will be serviced by dual VIO servers on each frame (again as shown in table 5.1).  Table 5.2 shows the example VIO server nodes and associated HA nodes as defined for illustrating the virtual SCSI adapter slot numbering standards.

| Frame | Node Name | Function |
| --- | --- | --- |
| A | dalapvio00 | VIO Server |
| A | dalapvio01 | VIO Server |
| A | dalapora00 | HACMP Active Node (Cluster #1) |
| A | dalapora01 | HACMP Active Node (Cluster #2) |
| B | dalapvio02 | VIO Server |
| B | dalapvio03 | VIO Server |
| B | dalapora50 | HACMP Hot-Standby Node (Cluster #1) |
| B | dalapora51 | HACMP Active Node (Cluster #2) |

Table 5.2: Example HA node names on multiple hardware frames

Notice in table 5.2 the even/odd numbering of the VIO server node names and the same strategy used for the client LPAR nodes.  In the first article of this series, it was recommended that equal numbers of even/odd client LPAR node names be created on each frame.  This even/odd numbering strategy is used by many of the scripts that will be presented in this series of articles to evenly distribute the network and storage traffic across the VIO servers and associated hardware adapters.

Experience with administering a virtualized environment has revealed that it is a good idea to create all of the virtual SCSI adapters in the slot range on the VIO servers at the time the VIO servers are created.  This practice eliminates the need for modifying the VIO server profiles every time a new client LPAR is added or deleted.  This also eliminates the need for DLPAR'ing (Dynamic LPAR operation) virtual SCSI adapters into or out of a running VIO server.   However, the greatest benefit of creating all of the virtual SCSI adapters in the 10 – 499 numeric range on each VIO server, is the associated vhost adapters have a consistent numbering sequence.  This consistency is extremely valuable to the system administrator when maintaining and supporting the VIO servers and client LPAR's.  A Korn shell script called “mkviolpar” was provided in a previous article in this series (AIX Update Journal, February 2007, Issue 136) that performed the task of creating each of the dual VIO servers utilizing the slot numbering and even/odd numbering schemes to be described in this article.

In order to aid the system administrator in tracking and monitoring the virtual SCSI adapters and associated storage, each numbered group of 10 slots is associated with only one client LPAR, even across multiple frames.  This is useful when defining high availability clusters and helps to eliminate confusion.  By using this standard, the system administrator is always certain that any numbered group of 10 SCSI adapters belongs to one and only one client LPAR, regardless of which frame it may be configured on.  The need for this consistency is difficult to illustrate without assuming the client LPAR's will be HACMP clusters, and the associated application storage will be shared between multiple frames.  Table 5.3  provides an example slot numbering scheme defining all slots in several numbered groups of 10, using even/odd numbering between the VIO servers, and between multiple frames for high availability.  The dual VIO server arrangement per frame ensures the client LPAR's will always have at least one communication path to storage in the event of a scheduled or unscheduled outage to one of the VIO servers.  Table 5.3 contains client LPAR's comprising two HACMP clusters consisting of two nodes each.  The first HACMP cluster is an Active-HotStandby cluster composed of nodes “dalapora00” and “dalapora50”.  The second HACMP cluster is an Active-Active cluster composed of nodes “dalapora01” and “dalapora51”, these nodes are grayed-out  in table 5.3 and will be discussed later in this article.

| Frame | VIO Server Name | VIO vhost Adapter | Slot Number / Status | Adapter Function | Client LPAR Cluster Node |
| --- | --- | --- | --- | --- | --- |
| A | dalapvio00 | vhost0 | 10 / Active | Operating System storage | dalapora00 |
| A | dalapvio00 | vhost1 | 12 / Active | Application Storage | dalapora00 |
| A | dalapvio00 | vhost2 | 14 / Inactive | Application Storage | dalapora00 |
| A | dalapvio00 | vhost3 | 16 / Inactive | Application Storage | dalapora00 |
| A | dalapvio00 | vhost4 | 18 / Inactive | Miscellaneous Storage | dalapora00 |
| A | dalapvio00 | vhost5 | 20 / Active | Operating System Storage | dalapora01 |
| A | dalapvio00 | vhost6 | 22 / Active | Application Storage | dalapora01 |
| A | dalapvio00 | vhost7 | 24 / Inactive | Application Storage | dalapora01 |
| A | dalapvio00 | vhost8 | 26 / Active | Application Storage | dalapora01 |
| A | dalapvio00 | vhost9 | 28 / Inactive | Miscellaneous Storage | dalapora01 |
| A | dalapvio01 | vhost0 | 11 / Active | Operating System Storage | dalapora00 |
| A | dalapvio01 | vhost1 | 13 / Active | Application Storage | dalapora00 |
| A | dalapvio01 | vhost2 | 15 / Inactive | Application Storage | dalapora00 |
| A | dalapvio01 | vhost3 | 17 / Inactive | Application Storage | dalapora00 |
| A | dalapvio01 | vhost4 | 19 / Inactive | Miscellaneous Storage | dalapora00 |
| A | dalapvio01 | vhost5 | 21 / Active | Operating System Storage | dalapora01 |
| A | dalapvio01 | vhost6 | 23 / Active | Application Storage | dalapora01 |
| A | dalapvio01 | vhost7 | 25 / Inactive | Application Storage | dalapora01 |
| A | dalapvio01 | vhost8 | 27 / Active | Application Storage | dalapora01 |
| A | dalapvio01 | vhost9 | 29 / Inactive | Miscellaneous Storage | dalapora01 |
| B | dalapvio02 | vhost0 | 10 / Inactive | Operating System storage | dalapora50 |
| B | dalapvio02 | vhost1 | 12 / Active | Application Storage | dalapora50 |
| B | dalapvio02 | vhost2 | 14 / Inactive | Application Storage | dalapora50 |
| B | dalapvio02 | vhost3 | 16 / Inactive | Application Storage | dalapora50 |
| B | dalapvio02 | vhost4 | 18 / Inactive | Miscellaneous Storage | dalapora50 |
| B | dalapvio02 | vhost5 | 20 / Active | Operating System Storage | dalapora51 |
| B | dalapvio02 | vhost6 | 22 / Active | Application Storage | dalapora51 |
| B | dalapvio02 | vhost7 | 24 / Inactive | Application Storage | dalapora51 |
| B | dalapvio02 | vhost8 | 26 / Active | Application Storage | dalapora51 |
| B | dalapvio02 | vhost9 | 28 / Inactive | Miscellaneous Storage | dalapora51 |
| B | dalapvio03 | vhost0 | 11 / Active | Operating System Storage | dalapora50 |
| B | dalapvio03 | vhost1 | 13 / Active | Application Storage | dalapora50 |
| B | dalapvio03 | vhost2 | 15 / Inactive | Application Storage | dalapora50 |
| B | dalapvio03 | vhost3 | 17 / Inactive | Application Storage | dalapora50 |
| B | dalapvio03 | vhost4 | 19 / Inactive | Miscellaneous Storage | dalapora50 |
| B | dalapvio03 | vhost5 | 21 / Active | Operating System Storage | dalapora51 |
| B | dalapvio03 | vhost6 | 23 / Active | Application Storage | dalapora51 |
| B | dalapvio03 | vhost7 | 25 / Inactive | Application Storage | dalapora51 |
| B | dalapvio03 | vhost8 | 27 / Active | Application Storage | dalapora51 |
| B | dalapvio03 | vhost9 | 29 / Inactive | Miscellaneous Storage | dalapora51 |

Table 5.3: Virtual SCSI Adapter Slot Numbering

Table 5.3 shows that slots numbered in the 10-19 range are assigned to all four VIO servers on both frames, even numbered slots on the even numbered VIO servers, and odd numbered slots on the odd numbered VIO servers.  The client LPAR's in this first example represent an Active-HotStandby HACMP cluster configuration. The Active HACMP node labeled “dalapora00” would only exist on frame A, and the HotStandby node in this cluster,  labeled “dalapora50”, would only exist on frame B.  The purpose arrangement is to provide redundant systems in the event of a scheduled or unscheduled outage.  For this purpose, even though the “dalapora00” does not exist on frame B, it is assigned application storage slots that are reserved on both frames.

In this example configuration, only one pair of application storage slots (12, 13) are used by the VIO servers to provide access to storage for the client LPAR's.  All four VIO servers across both frames are configured to utilize this pair of application storage slots.  The purpose is to provide both client LPAR's in the cluster access to a shared storage area.  All application storage disks are assigned to the vhost adapters associated with slot 12 on the even numbered VIO servers, and slot 13 on the odd numbered VIO servers.

When the client LPAR boots, it is presented with the virtual SCSI adapters assigned to it from both VIO servers on the frame, and the attached disks associated with each vhost adapter.  Table 5.4 shows the slots associated with each example client LPAR, which correspond to vhost adapters on the VIO servers.

| Client LPAR Cluster Node | Client LPAR Slot Number | VIO Server | VIO Slot Number / vhost Adapter | Adapter Function |
| --- | --- | --- | --- | --- |
| dalapora00 | 10 | dalapvio00 | 10 / vhost0 | Operating System Storage |
| dalapora00 | 11 | dalapvio01 | 11 / vhost0 | Operating System Storage |
| dalapora00 | 12 | dalapvio00 | 12 / vhost1 | Application Storage (active) |
| dalapora00 | 13 | dalapvio01 | 13 / vhost1 | Application Storage (active) |
| dalapora50 | 10 | dalapvio02 | 10 / vhost0 | Operating System Storage |
| dalapora50 | 11 | dalapvio03 | 11 / vhost0 | Operating System Storage |
| dalapora50 | 12 | dalapvio02 | 12 / vhost1 | Application Storage (HotStandby) |
| dalapora50 | 13 | dalapvio03 | 13 / vhost1 | Application Storage (HotStandby) |

Table 5.4: Cluster Nodes, Slot Numbers, and vhost adapters

Since the HACMP configuration is an Active-HotStandby arrangement, the client LPAR “dalapora50” operates as the hot-standby and only needs access to the storage from the active node, associated with  virtual SCSI slot numbers 12, 13.

Table 5.4 also illustrates the consistent vhost adapter numbering sequence between the VIO servers.  Observe the slot pairs 12 and 13 are associated with virtual SCSI adapter “vhost1” across all four VIO servers.  This consistency is due to the creation of all virtual SCSI adapters in the 10 – 499 range at the time the VIO servers were created.

The next example illustrates an Active-Active HACMP configuration, where both nodes of a cluster provide application services, and each node provides fail over capabilities for the other.  In this scenario, a pair of virtual SCSI adapters are utilized for application storage on each active node, and since each node acts as a fail over for the other cluster node, each node must also be presented with the application storage virtual SCSI adapters from the other cluster node.  Table 5.5 identifies an example slot numbering scheme associated with an Active-Active HACMP cluster where each node provides separate application services.

| Frame | VIO Server Name | VIO vhost Adapter | Slot Number / Status | Adapter Function | Client LPAR Allocation |
| --- | --- | --- | --- | --- | --- |
| A | dalapvio00 | vhost5 | 20 / Active | Operating System Storage | dalapora01 |
| A | dalapvio00 | vhost6 | 22 / Active | Application Storage | dalapora01 |
| A | dalapvio00 | vhost7 | 24 / Inactive | Application Storage | dalapora01 |
| A | dalapvio00 | vhost8 | 26 / Active | Application Storage | dalapora01 |
| A | dalapvio00 | vhost9 | 28 / Inactive | Miscellaneous Storage | dalapora01 |
| A | dalapvio01 | vhost5 | 21 / Active | Operating System Storage | dalapora01 |
| A | dalapvio01 | vhost6 | 23 / Active | Application Storage | dalapora01 |
| A | dalapvio01 | vhost7 | 25 / Inactive | Application Storage | dalapora01 |
| A | dalapvio01 | vhost8 | 27 / Active | Application Storage | dalapora01 |
| A | dalapvio01 | vhost9 | 29 / Inactive | Miscellaneous Storage | dalapora01 |
| B | dalapvio02 | vhost5 | 20 / Active | Operating System Storage | dalapora51 |
| B | dalapvio02 | vhost6 | 22 / Active | Application Storage | dalapora51 |
| B | dalapvio02 | vhost7 | 24 / Inactive | Application Storage | dalapora51 |
| B | dalapvio02 | vhost8 | 26 / Active | Application Storage | dalapora51 |
| B | dalapvio02 | vhost9 | 28 / Inactive | Miscellaneous Storage | dalapora51 |
| B | dalapvio03 | vhost5 | 21 / Active | Operating System Storage | dalapora51 |
| B | dalapvio03 | vhost6 | 23 / Active | Application Storage | dalapora51 |
| B | dalapvio03 | vhost7 | 25 / Inactive | Application Storage | dalapora51 |
| B | dalapvio03 | vhost8 | 27 / Active | Application Storage | dalapora51 |
| B | dalapvio03 | vhost9 | 29 / Inactive | Miscellaneous Storage | dalapora51 |

Table 5.5: Active-Active cluster slot numbers

Notice from tables 5.3 and 5.5 the operating system slot numbers for client LPAR cluster node pairs,  “dalapora00/dalapora50” and “dalapora01/dalapora51” are reused between the nodes of a cluster on opposite frames.  This appears to violate the policy of assigning unique slot numbers to each client LPAR.   The justification for this is because the business continuity standards described here assume the operating system storage does not fail over between cluster nodes, therefore the operating system slot numbers can be reused for different client LPAR's between frames.  Furthermore it makes sense to assign these slot numbers to client LPAR's comprising a cluster pair.  It makes it easier for the system administrator to identify the vhost adapters used by both nodes of a cluster node pair.

| Client LPAR | Client LPAR Slot Number | VIO Server | VIO Slot Number / vhost Adapter | Adapter Function |
| --- | --- | --- | --- | --- |
| dalapora01 | 20 | dalapvio00 | 20 / vhost5 | Operating System Storage |
| dalapora01 | 21 | dalapvio01 | 21 / vhost5 | Operating System Storage |
| dalapora01 | 22 | dalapvio00 | 22 / vhost6 | Application Storage (active) |
| dalapora01 | 23 | dalapvio01 | 23 / vhost6 | Application Storage (active) |
| dalpaora01 | 26 | dalapvio00 | 26 / vhost8 | Application Storage (standby) |
| dalapora01 | 27 | dalapvio01 | 27 / vhost8 | Application Storage (standby) |
| dalapora51 | 20 | dalapvio02 | 20 / vhost5 | Operating System Storage |
| dalapora51 | 21 | dalapvio03 | 21 / vhost5 | Operating System Storage |
| dalapora51 | 22 | dalapvio02 | 22 / vhost6 | Application Storage (standby) |
| dalapora51 | 23 | dalapvio03 | 23 / vhost6 | Application Storage (standby) |
| dalapora51 | 26 | dalapvio02 | 26 / vhost8 | Application Storage (active) |
| dalapora51 | 27 | dalapvio03 | 27 / vhost8 | Application Storage (active) |

Table 5.5: Active-Active cluster slot numbers

In the example Active-Active HACMP cluster, each node is configured with virtual SCSI adapters providing access to operating system storage, and storage for it's primary application and the storage for the application served by the opposite node.

The Business Continuity policies, guidelines, standards, and procedures to be learned from this article are as follows:

Policies: Those tasks that must be implemented

- All systems shall be created according to a business continuity mentality, meaning that reasonable effort will be expended to eliminate single points of failure.

  - Dual VIO Servers on each Frame.

  - Multiple paths to storage presented to each Client LPAR.

  - Multiple systems for manual or automated HACMP fail overs.

- Even / odd numbering schemes shall be implemented to simplify and automate system administration tasks, and to evenly distribute network and storage traffic across multiple resources.

- Operating system storage does not fail over during a scheduled or unscheduled outage.

- Paging space does not fail over during a scheduled or unscheduled outage.

- Application storage space fails over during a scheduled or unscheduled outage.

  - Guidelines: Those tasks that should be implemented

- Virtual SCSI adapter slots assigned for operating system storage can be reused between cluster pair nodes on separate frames, since operating system storage does not fail over during a scheduled or unscheduled outage.

- All virtual SCSI adapters using slot numbers in the range of 10-499 should be created at the time the VIO server is created, thus providing consistent slot number / vhost adapter sequencing on all VIO servers.

  - Standards: Technical specifications derived from the policies and guidelines

- This article illustrates the even/odd numbering sequence for host names on multiple frames.

- This article provides a standardized slot numbering scheme for virtual SCSI adapters provided by a VIO server.

- This article details multiple HACMP cluster scenarios in virtualized AIX environments.

  - Procedures: Step-by-step implementation instructions of the standards

- The “mkviolpar” Korn Shell script, provided in part 2 of this series of articles (AIX Update Journal, February 2007, Issue 136) is programmed to implement the slot numbering standard described in this article.  A Korn shell script called “mklpar” to create the client LPAR's, will be presented in a future article, and will also implement the client LPAR side of this slot numbering scheme.

The next article in this series will provide a naming standard for virtual target devices (VTD), and will introduce the concept of resource groups.  The resource group will be the basis of the business continuity, disaster recovery, and high availability naming structures recommended by this series of articles.

Dana French

President, Mt Xia, Inc.

http://www.mtxia.com

615.556.0456